## SUMMARY
Metric | Value
Comparison Method | Workflow 2 - Latest BOM vs Legacy BOM
Legacy BOM Last Updated Date | 2026-01-07 16:26:29
Latest BOM Last Updated Date | 2026-04-14 12:13:35
Sites Compared | 7621
Sites Changed | 32
Item Changes | 80

## DETAILS
Site Code | Site Name | Region | DU Code | Item Key | Legacy Qty | Latest Qty | Delta | Change Type | Remark | Comparison Method | Legacy BOM Last Updated Date | Latest BOM Last Updated Date
1017E | West Port CT3-1 Pole | Central | DU00002008504 | Antenna | 3 | 0 | -3 | REMOVED | Antenna removed Qty - 3 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1017E | West Port CT3-1 Pole | Central | DU00002008504 | BBU Cards | 1 | 0 | -1 | REMOVED | BBU Cards removed Qty - 1 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1017E | West Port CT3-1 Pole | Central | DU00002008504 | Circuit Breaker | 3 | 2 | -1 | DECREASE | Circuit Breaker decrease Qty - 3 to 2 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1017E | West Port CT3-1 Pole | Central | DU00002008504 | DCPD | 0 | 1 | 1 | ADDED | DCPD added Qty - 0 to 1 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1017E | West Port CT3-1 Pole | Central | DU00002008504 | Feeder 7/8 | 18 | 4 | -14 | DECREASE | Feeder 7/8 decrease Qty - 18 to 4 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1017E | West Port CT3-1 Pole | Central | DU00002008504 | FeederConnector 7/8 | 36 | 8 | -28 | DECREASE | FeederConnector 7/8 decrease Qty - 36 to 8 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1017E | West Port CT3-1 Pole | Central | DU00002008504 | RRU | 3 | 2 | -1 | DECREASE | RRU decrease Qty - 3 to 2 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1018E | West Port CT4-2 Pole | Central | DU00002008120 | Antenna | 3 | 0 | -3 | REMOVED | Antenna removed Qty - 3 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1018E | West Port CT4-2 Pole | Central | DU00002008120 | BBU Cards | 1 | 0 | -1 | REMOVED | BBU Cards removed Qty - 1 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1018E | West Port CT4-2 Pole | Central | DU00002008120 | Circuit Breaker | 3 | 2 | -1 | DECREASE | Circuit Breaker decrease Qty - 3 to 2 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1018E | West Port CT4-2 Pole | Central | DU00002008120 | DCPD | 0 | 1 | 1 | ADDED | DCPD added Qty - 0 to 1 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1018E | West Port CT4-2 Pole | Central | DU00002008120 | Feeder 7/8 | 18 | 4 | -14 | DECREASE | Feeder 7/8 decrease Qty - 18 to 4 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1018E | West Port CT4-2 Pole | Central | DU00002008120 | FeederConnector 7/8 | 36 | 8 | -28 | DECREASE | FeederConnector 7/8 decrease Qty - 36 to 8 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1019E | West Port CT6-1 Pole | Central | DU00002008435 | Antenna | 3 | 0 | -3 | REMOVED | Antenna removed Qty - 3 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1019E | West Port CT6-1 Pole | Central | DU00002008435 | BBU Cards | 1 | 2 | 1 | INCREASE | BBU Cards increase Qty - 1 to 2 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1019E | West Port CT6-1 Pole | Central | DU00002008435 | Circuit Breaker | 3 | 2 | -1 | DECREASE | Circuit Breaker decrease Qty - 3 to 2 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1019E | West Port CT6-1 Pole | Central | DU00002008435 | DCPD | 0 | 1 | 1 | ADDED | DCPD added Qty - 0 to 1 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1019E | West Port CT6-1 Pole | Central | DU00002008435 | Feeder 7/8 | 18 | 4 | -14 | DECREASE | Feeder 7/8 decrease Qty - 18 to 4 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1019E | West Port CT6-1 Pole | Central | DU00002008435 | FeederConnector 7/8 | 36 | 8 | -28 | DECREASE | FeederConnector 7/8 decrease Qty - 36 to 8 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1020E | West Port CT8-1 Pole | Central | DU00002008489 | Antenna | 3 | 0 | -3 | REMOVED | Antenna removed Qty - 3 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1020E | West Port CT8-1 Pole | Central | DU00002008489 | BBU Cards | 1 | 0 | -1 | REMOVED | BBU Cards removed Qty - 1 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1020E | West Port CT8-1 Pole | Central | DU00002008489 | Circuit Breaker | 3 | 0 | -3 | REMOVED | Circuit Breaker removed Qty - 3 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1020E | West Port CT8-1 Pole | Central | DU00002008489 | Feeder 7/8 | 18 | 0 | -18 | REMOVED | Feeder 7/8 removed Qty - 18 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1020E | West Port CT8-1 Pole | Central | DU00002008489 | FeederConnector 7/8 | 36 | 0 | -36 | REMOVED | FeederConnector 7/8 removed Qty - 36 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1020E | West Port CT8-1 Pole | Central | DU00002008489 | Post | 1 | 0 | -1 | REMOVED | Post removed Qty - 1 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1020E | West Port CT8-1 Pole | Central | DU00002008489 | RRU | 3 | 0 | -3 | REMOVED | RRU removed Qty - 3 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1127E | West Port CT9 Pole | Central | DU00002008149 | Antenna | 3 | 0 | -3 | REMOVED | Antenna removed Qty - 3 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1127E | West Port CT9 Pole | Central | DU00002008149 | BBU Cards | 1 | 0 | -1 | REMOVED | BBU Cards removed Qty - 1 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1127E | West Port CT9 Pole | Central | DU00002008149 | Circuit Breaker | 3 | 0 | -3 | REMOVED | Circuit Breaker removed Qty - 3 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1127E | West Port CT9 Pole | Central | DU00002008149 | Feeder 7/8 | 18 | 0 | -18 | REMOVED | Feeder 7/8 removed Qty - 18 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1127E | West Port CT9 Pole | Central | DU00002008149 | FeederConnector 7/8 | 36 | 0 | -36 | REMOVED | FeederConnector 7/8 removed Qty - 36 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1127E | West Port CT9 Pole | Central | DU00002008149 | Post | 1 | 0 | -1 | REMOVED | Post removed Qty - 1 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
1127E | West Port CT9 Pole | Central | DU00002008149 | RRU | 3 | 0 | -3 | REMOVED | RRU removed Qty - 3 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
2011B | West Port Building | Central | DU00002008457 | Antenna | 3 | 4 | 1 | INCREASE | Antenna increase Qty - 3 to 4 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
2011B | West Port Building | Central | DU00002008457 | Filter | 3 | 4 | 1 | INCREASE | Filter increase Qty - 3 to 4 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
2011B | West Port Building | Central | DU00002008457 | RRU | 3 | 6 | 3 | INCREASE | RRU increase Qty - 3 to 6 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
2598A15 | pBTS Kompleks PAS Simpang Ampat | Northern | DU00003795855 | Feeder 7/8 | 24 | 6 | -18 | DECREASE | Feeder 7/8 decrease Qty - 24 to 6 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
2598A15 | pBTS Kompleks PAS Simpang Ampat | Northern | DU00003795855 | FeederConnector 7/8 | 48 | 12 | -36 | DECREASE | FeederConnector 7/8 decrease Qty - 48 to 12 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
2625B | Kota Emerald Watertank | Central | DU00001861449 | AAU | 1 | 0 | -1 | REMOVED | AAU removed Qty - 1 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
2625B | Kota Emerald Watertank | Central | DU00001861449 | RRU | 0 | 6 | 6 | ADDED | RRU added Qty - 0 to 6 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
2665C | Westport Tower IB | Central | DU00002008106 | RRU | 6 | 12 | 6 | INCREASE | RRU increase Qty - 6 to 12 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
2984C | Sunway Pyramid New | Central | DU00005160902 | FeederConnector 1/2 | 0 | 15 | 15 | ADDED | FeederConnector 1/2 added Qty - 0 to 15 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
2984C | Sunway Pyramid New | Central | DU00005160902 | RRU | 9 | 18 | 9 | INCREASE | RRU increase Qty - 9 to 18 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
3093C | Bomba House RT | Central | DU00002038522 | BBU Cards | 1 | 0 | -1 | REMOVED | BBU Cards removed Qty - 1 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
3322B | Sky Avenue Genting IB | Central | DU00002037802 | Combiner | 7 | 12 | 5 | INCREASE | Combiner increase Qty - 7 to 12 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
3439B14 | pBTS Ulu Basir & Changkat Mentri Estate Office | Northern | DU00002862228 | Feeder 7/8 | 6 | 12 | 6 | INCREASE | Feeder 7/8 increase Qty - 6 to 12 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
3439B14 | pBTS Ulu Basir & Changkat Mentri Estate Office | Northern | DU00002862228 | FeederConnector 7/8 | 12 | 24 | 12 | INCREASE | FeederConnector 7/8 increase Qty - 12 to 24 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
3439B14 | pBTS Ulu Basir & Changkat Mentri Estate Office | Northern | DU00002862228 | Power Module | 0 | 1 | 1 | ADDED | Power Module added Qty - 0 to 1 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
3439B14 | pBTS Ulu Basir & Changkat Mentri Estate Office | Northern | DU00002862228 | RRU | 6 | 9 | 3 | INCREASE | RRU increase Qty - 6 to 9 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
3827B | Theme Park Hotel Genting Highland | Central | DU00002038491 | Combiner | 0 | 1 | 1 | ADDED | Combiner added Qty - 0 to 1 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
3827B | Theme Park Hotel Genting Highland | Central | DU00002038491 | RRU | 2 | 4 | 2 | INCREASE | RRU increase Qty - 2 to 4 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
9463B | Kg Sepinang | Sarawak | DU00002863517 | RRU | 1 | 4 | 3 | INCREASE | RRU increase Qty - 1 to 4 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
A00003 | A045A_A00003OD_TMGRIK | Northern | DU00002864473 | RRU | 10 | 6 | -4 | DECREASE | RRU decrease Qty - 10 to 6 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
A00021 | A041A_A00021OD_CB_JENALIK | Northern | DU00002862389 | DCPD | 0 | 1 | 1 | ADDED | DCPD added Qty - 0 to 1 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
A00021 | A041A_A00021OD_CB_JENALIK | Northern | DU00002862389 | ODCPD | 3 | 9 | 6 | INCREASE | ODCPD increase Qty - 3 to 9 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
A00021 | A041A_A00021OD_CB_JENALIK | Northern | DU00002862389 | RRU | 6 | 9 | 3 | INCREASE | RRU increase Qty - 6 to 9 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
B00847 | B062A_B00847OD_BT4SEPINTAS | Central | DU00002864581 | Combiner | 0 | 1 | 1 | ADDED | Combiner added Qty - 0 to 1 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
B02046 | B063A_B02046OD_MN_KGTBKDARAT | Central | DU00002007381 | Circuit Breaker | 0 | 2 | 2 | ADDED | Circuit Breaker added Qty - 0 to 2 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
B02068 | W066X_B02068OD_MJDTMNKOSASAMPG | Central | DU00002863069 | Post | 0 | 1 | 1 | ADDED | Post added Qty - 0 to 1 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
B02371 | W067A_B02371OD_CRAN_PRESINT15 | Central | DU00003271962 | Circuit Breaker | 2 | 5 | 3 | INCREASE | Circuit Breaker increase Qty - 2 to 5 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
C00011 | C046C_C00011OD_RESORTHOTELSL | Central | DU00002040840 | Combiner | 6 | 10 | 4 | INCREASE | Combiner increase Qty - 6 to 10 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
K00244 | K008A_K00244OD_TMKUAH | Northern | DU00002863577 | RRU | 12 | 13 | 1 | INCREASE | RRU increase Qty - 12 to 13 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
K00883 | K007A_K00883OD_T3_KG_PAYA_JEMERLI | Northern | DU00002747828 | Power Module | 0 | 2 | 2 | ADDED | Power Module added Qty - 0 to 2 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
Q01081 | Q133A_Q01081OD_LDGKURAYA | Sarawak | DU00002865457 | Circuit Breaker | 2 | 0 | -2 | REMOVED | Circuit Breaker removed Qty - 2 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
Q01129 | Q130A_Q01129OD_T3_RHLINGGI | Sarawak | DU00002862476 | Circuit Breaker | 2 | 0 | -2 | REMOVED | Circuit Breaker removed Qty - 2 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
Q01231 | Q133A_Q01231OD_LDGJUDAN | Sarawak | DU00002865458 | Antenna | 3 | 0 | -3 | REMOVED | Antenna removed Qty - 3 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
R00090 | R001A_R00090OD_TMN_BESERIPERMAI | Northern | DU00002864500 | Battery | 2 | 3 | 1 | INCREASE | Battery increase Qty - 2 to 3 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
R00090 | R001A_R00090OD_TMN_BESERIPERMAI | Northern | DU00002864500 | RRU | 7 | 6 | -1 | DECREASE | RRU decrease Qty - 7 to 6 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
S00294 | S107A_S00294_TMSFI | Sabah | DU00002865504 | Antenna | 3 | 0 | -3 | REMOVED | Antenna removed Qty - 3 to 0 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
S00294 | S107A_S00294_TMSFI | Sabah | DU00002865504 | Battery | 0 | 2 | 2 | ADDED | Battery added Qty - 0 to 2 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
S01003 | S099A_S01003OD_CB_VRT3PAGALUNGAN | Sabah | DU00002040293 | Antenna | 0 | 1 | 1 | ADDED | Antenna added Qty - 0 to 1 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
W01046 | W066U_W01046IB_TNB_DUA_SENTRAL | Central | DU00002747505 | Battery | 0 | 2 | 2 | ADDED | Battery added Qty - 0 to 2 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
W01046 | W066U_W01046IB_TNB_DUA_SENTRAL | Central | DU00002747505 | Cabinet | 0 | 1 | 1 | ADDED | Cabinet added Qty - 0 to 1 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
W01046 | W066U_W01046IB_TNB_DUA_SENTRAL | Central | DU00002747505 | Combiner | 0 | 3 | 3 | ADDED | Combiner added Qty - 0 to 3 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
W01046 | W066U_W01046IB_TNB_DUA_SENTRAL | Central | DU00002747505 | FeederConnector 1/2 | 0 | 6 | 6 | ADDED | FeederConnector 1/2 added Qty - 0 to 6 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
W01321 | W066V_W01321IB_KL_GATEWAY | Central | DU00002865653 | BBU | 0 | 1 | 1 | ADDED | BBU added Qty - 0 to 1 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
W01321 | W066V_W01321IB_KL_GATEWAY | Central | DU00002865653 | Circuit Breaker | 0 | 2 | 2 | ADDED | Circuit Breaker added Qty - 0 to 2 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
W01321 | W066V_W01321IB_KL_GATEWAY | Central | DU00002865653 | DCPD | 0 | 1 | 1 | ADDED | DCPD added Qty - 0 to 1 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
W01321 | W066V_W01321IB_KL_GATEWAY | Central | DU00002865653 | GPS | 0 | 1 | 1 | ADDED | GPS added Qty - 0 to 1 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35
W01321 | W066V_W01321IB_KL_GATEWAY | Central | DU00002865653 | RRU | 3 | 4 | 1 | INCREASE | RRU increase Qty - 3 to 4 | Workflow 2 - Latest BOM vs Legacy BOM | 2026-01-07 16:26:29 | 2026-04-14 12:13:35