## Central
General Item |  |  | CD consolidation 2023 (Swap/ Modernize) | CD consolidation 2023 (Decomm RAN) | CD consolidation 2023 (Decomm TX) | NIC congest upgrade | 2023 Celcomdigi BAU | 2024 Celcomdigi BAU | CR with Equipment | Celcomdigi USP | Decomm Cabinet CR | Imacro BBU Swap | Decomm Reuse | 2025 NIC revisit | Highways Add Sec | MSQos_2025 | Project Thanos
Item Code | Item Name | Unit
350000214909 | Inland transportation from KV warehouse to KV Region exact site location for wireless site | Site | 1 |  |  |  | 1 |  | optional |  |  |  | optional | optional | optional |  | 1
350000165392 | Wireless site as-built document | Site | 1 |  |  | 1 | 1 | 1 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1
350000165391 | Wireless site installation acceptance | Site | 1 |  |  | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1
350000589230 | Simple Packing and Inland transportation from KV Region exact site location to KV warehouse for wireless site | Site | 1 | 1 |  |  | 1 |  | optional |  | 1 | 1 | optional | optional | optional
350000354023 | Wireless site commissioning (on Mobile phone) | site | 1 |  |  | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1
350000428950 | Site HSW video surveillance service for Digi project | Site | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1
350000589364 | Wireless site as-built document for pure equipment removal site | Site |  | 1
350000589232 | Simple Packing and Inland transportation from KV Region exact site location to KV warehouse for MW | Hop |  |  | 1
350000589207 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) | Site |  |  |  | 1 |  |  | 1 |  |  |  | 1 | 1 | 1 | 1
350000589317 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) | Site |  |  |  | 1 |  |  | 1 |  |  |  | 1 | 1 | optional | 1
350000589177 | Inland transportation from KV warehouse to KV Region exact site location for wireless and MW(Antenna Dia<=1.2m) together | Site | [5 empty] | 1 |  | 1
350000062751 | MW Installation Acceptance | Hop | [5 empty] | 1 |  | 1
350000062754 | MW As-built Document | Hop | [5 empty] | 1 |  | 1
350000589455 | MW Commissioning ((1+0)/(1+1)/(1+1) SD/(2+2) XPIC/(2+2) XPIC SD/(2+0) XPIC/(4+0) XPIC) | Hop | [5 empty] | 1 |  | 1
350000589488 | Mobilization for per trip(For works except board/module expansion) | Trip | [8 empty] | 1
350000234599 | iMacro site transportation from warehouse to site | Site | [9 empty] | 1
350000234600 | iMacro site equipment installation and site acceptance | Site | [9 empty] | 1
350000234601 | iMacro site commssion and integration | Site | [9 empty] | 1

## Sabah
General Item |  |  |  | CD consolidation 2023 (Swap/ Modernize) | CD consolidation 2023 (Decomm RAN) | CD consolidation 2023 (Decomm TX) | NIC congest upgrade | 2023 Celcomdigi BAU | 2024 Celcomdigi BAU | CR with Equipment | Celcomdigi USP | Decomm Cabinet CR | Imacro BBU Swap | Decomm Reuse | 2025 NIC revisit | Highways Add Sec | MSQos_2025 | Project Thanos
Item Code | Item Name | Unit | City
350000171472 | Inland transportation from Sabah warehouse to Kota Kinabalu for wireless site | site | Kota Kinabalu | 1 |  |  | Optional | 1 | 1 | Optional | 1 |  |  | Optional | Optional |  | Optional
350000171473 | Inland transportation from Sabah warehouse to Sandakan for wireless site | site | Sandakan | 1 |  |  | Optional | 1 | 1 | Optional | 1 |  |  | Optional | Optional |  | Optional
350000171474 | Inland transportation from Sabah warehouse to Tawau for wireless site | site | Tawau | 1 |  |  | Optional | 1 | 1 | Optional | 1 |  |  | Optional | Optional |  | Optional
350000280450 | Inland transportation from Sabah warehouse to Lawas for wireless site | site | Lawas | 1 |  |  | Optional | 1 | 1 | Optional | 1 |  |  | Optional | Optional |  | Optional
350000165392 | Wireless site as-built document | Site |  | 1 |  |  | 1 | 1 | 1 |  | 1 |  |  | 1 | 1 |  | 1
350000165391 | Wireless site installation acceptance | Site |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 |  | 1
350000589291 | Simple Packing and Inland transportation from Kota Kinabalu to Sabah warehouse for wireless site | site | Kota Kinabalu | 1 | 1 |  | Optional | 1 | 1 | Optional | 1 |  | 1 | Optional | Optional |  | Optional
350000589292 | Simple Packing and Inland transportation from Sandakan to Sabah warehouse for wireless site | site | Sandakan | 1 | 1 |  | Optional | 1 | 1 | Optional | 1 |  | 1 | Optional | Optional |  | Optional
350000589293 | Simple Packing and Inland transportation from Tawau to Sabah warehouse for wireless site | site | Tawau | 1 | 1 |  | Optional | 1 | 1 | Optional | 1 |  | 1 | Optional | Optional |  | Optional
350000589294 | Simple Packing and Inland transportation from Lawas to Sabah warehouse for wireless site | site | Lawas | 1 | 1 |  | Optional | 1 | 1 | Optional | 1 |  | 1 | Optional | Optional |  | Optional
350000354023 | Wireless site commissioning (on Mobile phone) | site |  | 1 |  |  | 1 | 1 | 1 |  | 1 |  | 1 | 1 | 1 |  | 1
350000428950 | Site HSW video surveillance service for Digi project | Site |  | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |  | 1
350000589364 | Wireless site as-built document for pure equipment removal site | Site |  |  | 1
350000212474 | Inland transportation from Sabah warehouse to Kota Kinabalu for MW | Hop | Kota Kinabalu
350000212475 | Inland transportation from Sabah warehouse to Sandakan for MW | Hop | Sandakan
350000212476 | Inland transportation from Sabah warehouse to Tawau for MW | Hop | Tawau
350000589206 | Inland transportation from Sabah warehouse to Lawas for MW | Hop | Lawas
350000589313 | Simple Packing and Inland transportation from Kota Kinabalu to Sabah warehouse for MW | Hop | Kota Kinabalu |  |  | 1
350000589314 | Simple Packing and Inland transportation from Sandakan to Sabah warehouse for MW | Hop | Sandakan |  |  | 1
350000589315 | Simple Packing and Inland transportation from Tawau to Sabah warehouse for MW | Hop | Tawau |  |  | 1
350000589316 | Simple Packing and Inland transportation from Lawas to Sabah warehouse for MW | Hop | Lawas |  |  | 1
350000589215 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Sabah warehouse to Kota Kinabalu | Site | Kota Kinabalu | Optional |  |  | 1 |  |  | 1 |  |  |  | 1 | 1 |  | 1
350000589216 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Sabah warehouse to Sandakan | Site | Sandakan | Optional |  |  | 1 |  |  | 1 |  |  |  | 1 | 1 |  | 1
350000212486 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Sabah warehouse to Tawau | Site | Tawau | Optional |  |  | 1 |  |  | 1 |  |  |  | 1 | 1 |  | 1
350000589217 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Sabah warehouse to Lawas | Site | Lawas | Optional |  |  | 1 |  |  | 1 |  |  |  | 1 | 1 |  | 1
350000589226 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Sabah warehouse to Kota Kinabalu for MW only | Hop | Kota Kinabalu
350000589227 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Sabah warehouse to Sandakan for MW only | Hop | Sandakan
350000589228 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Sabah warehouse to Tawau for MW only | Hop | Tawau
350000589229 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Sabah warehouse to Lawas for MW only | Hop | Lawas
350000589325 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Kota Kinabalu to Sabah warehouse | Site | Kota Kinabalu | Optional | Optional |  | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  | 1
350000589326 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Sandakan to Sabah warehouse | Site | Sandakan | Optional | Optional |  | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  | 1
350000589327 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Tawau to Sabah warehouse | Site | Tawau | Optional | Optional |  | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  | 1
350000589328 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Lawas to Sabah warehouse | Site | Lawas | Optional | Optional |  | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  | 1
350000589337 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Kota Kinabalu to Sabah warehouse for MW only | Hop | Kota Kinabalu
350000589338 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Sandakan to Sabah warehouse for MW only | Hop | Sandakan
350000589339 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Tawau to Sabah warehouse for MW only | Hop | Tawau
350000589340 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Lawas to Sabah warehouse for MW only | Hop | Lawas
350000589202 | Inland transportation from Sabah warehouse to Kota Kinabalu for wireless equipment and MW(Antenna Dia<=1.2m) together | site | Kota Kinabalu |  |  |  |  | Optional | Optional |  | Optional
350000589203 | Inland transportation from Sabah warehouse to Sandakan for wireless equipment and MW(Antenna Dia<=1.2m) together | site | Sandakan |  |  |  |  | Optional | Optional |  | Optional
350000589204 | Inland transportation from Sabah warehouse to Tawau for wireless equipment and MW(Antenna Dia<=1.2m) together | site | Tawau |  |  |  |  | Optional | Optional |  | Optional
350000589205 | Inland transportation from Sabah warehouse to Lawas for wireless equipment and MW(Antenna Dia<=1.2m) together | site | Lawas |  |  |  |  | Optional | Optional |  | Optional
350000062751 | MW Installation Acceptance | Hop
350000062754 | MW As-built Document | Hop
350000589455 | MW Commissioning ((1+0)/(1+1)/(1+1) SD/(2+2) XPIC/(2+2) XPIC SD/(2+0) XPIC/(4+0) XPIC) | Hop
350000589488 | Mobilization for per trip(For works except board/module expansion) | Trip | [7 empty] | Optional |  | 1
350000234599 | iMacro site transportation from warehouse to site | Site | [5 empty] | Optional | Optional |  |  |  | 1
350000234600 | iMacro site equipment installation and site acceptance | Site | [5 empty] | Optional | Optional |  |  |  | 1
350000234601 | iMacro site commssion and integration | Site | [5 empty] | Optional | Optional |  |  |  | 1

## Sarawak
General Item |  |  |  | CD consolidation 2023 (Swap/ Modernize) | CD consolidation 2023 (Decomm RAN) | CD consolidation 2023 (Decomm TX) | NIC congest upgrade | 2023 Celcomdigi BAU | 2024 Celcomdigi BAU | CR with Equipment | Celcomdigi USP | Decomm Cabinet CR | Imacro BBU Swap | Decomm Reuse | 2025 NIC revisit | Highways Add Sec | MSQos_2025 | Project Thanos
Item Code | Item Name | Unit | City
350000171468 | Inland transportation from Salawak warehouse to Kuching for wireless site | site | Kuching | 1 |  |  | Optional | 1 | 1 | Optional | 1 |  |  | Optional | Optional |  | Optional
350000171469 | Inland transportation from Salawak warehouse to Sibu for wireless site | site | Sibu | 1 |  |  | Optional | 1 | 1 | Optional | 1 |  |  | Optional | Optional |  | Optional
350000171470 | Inland transportation from Salawak warehouse to Bintulu for wireless site | site | Bintulu | 1 |  |  | Optional | 1 | 1 | Optional | 1 |  |  | Optional | Optional |  | Optional
350000171471 | Inland transportation from Salawak warehouse to Miri for wireless site | site | Miri | 1 |  |  | Optional | 1 | 1 | Optional | 1 |  |  | Optional | Optional |  | Optional
350000196319 | Inland transportation from Salawak warehouse to Limbang for wireless site | site | Limbang | 1 |  |  | Optional | 1 | 1 | Optional | 1 |  |  | Optional | Optional |  | Optional
350000196320 | Inland transportation from Salawak warehouse to Lawas for wireless site | site | Lawas | 1 |  |  | Optional | 1 | 1 | Optional | 1 |  |  | Optional | Optional |  | Optional
350000358609 | Inland transportation from Salawak warehouse to Sri Aman for wireless site | Site | Sri Aman | 1 |  |  | Optional | 1 | 1 | Optional | 1 |  |  | Optional | Optional |  | Optional
350000165392 | Wireless site as-built document | Site |  | 1 |  |  | 1 | 1 | 1 |  | 1 |  |  | 1 | 1 |  | 1
350000165391 | Wireless site installation acceptance | Site |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 |  | 1
350000589284 | Simple Packing and Inland transportation from Kuching to Salawak warehouse for wireless site | site | Kuching | 1 | 1 |  | Optional | 1 | 1 | Optional | 1 |  | 1 | Optional | Optional |  | Optional
350000589285 | Simple Packing and Inland transportation from Sibu to Salawak warehouse for wireless site | site | Sibu | 1 | 1 |  | Optional | 1 | 1 | Optional | 1 |  | 1 | Optional | Optional |  | Optional
350000589286 | Simple Packing and Inland transportation from Bintulu to Salawak warehouse for wireless site | site | Bintulu | 1 | 1 |  | Optional | 1 | 1 | Optional | 1 |  | 1 | Optional | Optional |  | Optional
350000589287 | Simple Packing and Inland transportation from Miri to Salawak warehouse for wireless site | site | Miri | 1 | 1 |  | Optional | 1 | 1 | Optional | 1 |  | 1 | Optional | Optional |  | Optional
350000589288 | Simple Packing and Inland transportation from Limbang to Salawak warehouse for wireless site | site | Limbang | 1 | 1 |  | Optional | 1 | 1 | Optional | 1 |  | 1 | Optional | Optional |  | Optional
350000589289 | Simple Packing and Inland transportation from Lawas to Salawak warehouse for wireless site | site | Lawas | 1 | 1 |  | Optional | 1 | 1 | Optional | 1 |  | 1 | Optional | Optional |  | Optional
350000589290 | Simple Packing and Inland transportation from Sri Aman to Salawak warehouse for wireless site | Site | Sri Aman | 1 | 1 |  | Optional | 1 | 1 | Optional | 1 |  | 1 | Optional | Optional |  | Optional
350000354023 | Wireless site commissioning (on Mobile phone) | site |  | 1 |  |  | 1 | 1 | 1 |  | 1 |  |  | 1 | 1 |  | 1
350000428950 | Site HSW video surveillance service for Digi project | Site |  | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 |  | 1
350000589364 | Wireless site as-built document for pure equipment removal site | Site |  |  | 1
350000212468 | Inland transportation from Salawak warehouse to Kuching for MW | Hop | Kuching
350000212469 | Inland transportation from Salawak warehouse to Sibu for MW | Hop | Sibu
350000212470 | Inland transportation from Salawak warehouse to Bintulu for MW | Hop | Bintulu
350000212471 | Inland transportation from Salawak warehouse to Miri for MW | Hop | Miri
350000212472 | Inland transportation from Salawak warehouse to Limbang for MW | Hop | Limbang
350000212473 | Inland transportation from Salawak warehouse to Lawas for MW | Hop | Lawas
350000358611 | Inland transportation from Salawak warehouse to Sri Aman for MW | Hop | Sri Aman
350000589306 | Simple Packing and Inland transportation from Kuching to Salawak warehouse for MW | Hop | Kuching |  |  | 1
350000589307 | Simple Packing and Inland transportation from Sibu to Salawak warehouse for MW | Hop | Sibu |  |  | 1
350000589308 | Simple Packing and Inland transportation from Bintulu to Salawak warehouse for MW | Hop | Bintulu |  |  | 1
350000589309 | Simple Packing and Inland transportation from Miri to Salawak warehouse for MW | Hop | Miri |  |  | 1
350000589310 | Simple Packing and Inland transportation from Limbang to Salawak warehouse for MW | Hop | Limbang |  |  | 1
350000589311 | Simple Packing and Inland transportation from Lawas to Salawak warehouse for MW | Hop | Lawas |  |  | 1
350000589312 | Simple Packing and Inland transportation from Sri Aman to Salawak warehouse for MW | Hop | Sri Aman |  |  | 1
350000589208 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Salawak warehouse to Kuching | Site | Kuching | Optional | Optional |  | 1 |  |  | 1 |  |  |  | 1 | 1 |  | 1
350000589209 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) Salawak warehouse to Sibu | Site | Sibu | Optional | Optional |  | 1 |  |  | 1 |  |  |  | 1 | 1 |  | 1
350000589210 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Salawak warehouse to Bintulu | Site | Bintulu | Optional | Optional |  | 1 |  |  | 1 |  |  |  | 1 | 1 |  | 1
350000589211 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Salawak warehouse to Miri | Site | Miri | Optional | Optional |  | 1 |  |  | 1 |  |  |  | 1 | 1 |  | 1
350000589212 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Salawak warehouse to Limbang | Site | Limbang | Optional | Optional |  | 1 |  |  | 1 |  |  |  | 1 | 1 |  | 1
350000589213 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Salawak warehouse to Lawas | Site | Lawas | Optional | Optional |  | 1 |  |  | 1 |  |  |  | 1 | 1 |  | 1
350000589214 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Salawak warehouse to Sri Aman | Site | Sri Aman | Optional | Optional |  | 1 |  |  | 1 |  |  |  | 1 | 1 |  | 1
350000589219 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Salawak warehouse to Kuching for MW only | Hop | Kuching | [7 empty] | Optional
350000589220 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) Salawak warehouse to Sibu for MW only | Hop | Sibu | [7 empty] | Optional
350000589221 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Salawak warehouse to Bintulu for MW only | Hop | Bintulu | [7 empty] | Optional
350000589222 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Salawak warehouse to Miri for MW only | Hop | Miri | [7 empty] | Optional
350000589223 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Salawak warehouse to Limbang for MW only | Hop | Limbang
350000589224 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Salawak warehouse to Lawas for MW only | Hop | Lawas
350000589225 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Salawak warehouse to Sri Aman for MW only | Hop | Sri Aman
350000589318 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Kuching to Salawak warehouse | Site | Kuching | Optional | Optional |  | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  | 1
350000589319 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Sibu to Salawak warehouse | Site | Sibu | Optional | Optional |  | 1 |  |  | 1 |  | 1 | 1 | 1 | 1 |  | 1
350000589320 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Bintulu to Salawak warehouse | Site | Bintulu | Optional | Optional |  | 1 |  |  | 1 |  | 1 | 1 | 1 | 1 |  | 1
350000589321 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Miri to Salawak warehouse | Site | Miri | Optional | Optional |  | 1 |  |  | 1 |  | 1 | 1 | 1 | 1 |  | 1
350000589322 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Limbang to Salawak warehouse | Site | Limbang | Optional | Optional |  | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  | 1
350000589323 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Lawas to Salawak warehouse | Site | Lawas | Optional | Optional |  | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  | 1
350000589324 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Sri Aman to Salawak warehouse | Site | Sri Aman | Optional | Optional |  | 1 |  |  | 1 |  | 1 |  | 1 | 1 |  | 1
350000589330 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Kuching to Salawak warehouse for MW only | Hop | Kuching
350000589331 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Sibu to Salawak warehouse for MW only | Hop | Sibu
350000589332 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Bintulu to Salawak warehouse for MW only | Hop | Bintulu
350000589333 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Miri to Salawak warehouse for MW only | Hop | Miri
350000589334 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Limbang to Salawak warehouse for MW only | Hop | Limbang
350000589335 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Lawas to Salawak warehouse for MW only | Hop | Lawas
350000589336 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from Sri Aman to Salawak warehouse for MW only | Hop | Sri Aman
350000589195 | Inland transportation from Salawak warehouse to Kuching for wireless equipment and MW(Antenna Dia<=1.2m) together | site | Kuching |  |  |  |  | 1 | 1 |  | Optional
350000589196 | Inland transportation from Salawak warehouse to Sibu for wireless equipment and MW(Antenna Dia<=1.2m) together | site | Sibu |  |  |  |  | 1 | 1 |  | Optional
350000589197 | Inland transportation from Salawak warehouse to Bintulu for wireless equipment and MW(Antenna Dia<=1.2m) together | site | Bintulu |  |  |  |  | 1 | 1 |  | Optional
350000589198 | Inland transportation from Salawak warehouse to Miri for wireless equipment and MW(Antenna Dia<=1.2m) together | site | Miri |  |  |  |  | 1 | 1 |  | Optional
350000589199 | Inland transportation from Salawak warehouse to Limbang for wireless equipment and MW(Antenna Dia<=1.2m) together | site | Limbang |  |  |  |  | 1 | 1 |  | Optional
350000589200 | Inland transportation from Salawak warehouse to Lawas for wireless equipment and MW(Antenna Dia<=1.2m) together | site | Lawas |  |  |  |  | 1 | 1 |  | Optional
350000589201 | Inland transportation from Salawak warehouse to Sri Aman for wireless equipment and MW(Antenna Dia<=1.2m) together | Site | Sri Aman |  |  |  |  | 1 | 1 |  | Optional
350000062751 | MW Installation Acceptance | Hop
350000062754 | MW As-built Document | Hop
350000589455 | MW Commissioning ((1+0)/(1+1)/(1+1) SD/(2+2) XPIC/(2+2) XPIC SD/(2+0) XPIC/(4+0) XPIC) | Hop
350000589488 | Mobilization for per trip(For works except board/module expansion) | Trip | [7 empty] | Optional |  | 1
350000234599 | iMacro site transportation from warehouse to site | Site | [5 empty] | Optional | Optional |  |  |  | 1
350000234600 | iMacro site equipment installation and site acceptance | Site | [5 empty] | Optional | Optional |  |  |  | 1
350000234601 | iMacro site commssion and integration | Site | [5 empty] | Optional | Optional |  |  |  | 1

## Northern
General Item |  |  |  | CD consolidation 2023 (Swap/ Modernize) | CD consolidation 2023 (Decomm RAN) | CD consolidation 2023 (Decomm TX) | NIC congest upgrade | 2023 Celcomdigi BAU | 2024 Celcomdigi BAU | CR with Equipment | Celcomdigi USP | Decomm Cabinet CR | Imacro BBU Swap | Decomm Reuse | 2025 NIC revisit | Highways Add Sec | MSQos_2025 | Project Thanos
Item Code | Item Name | Unit | Province/State
350000214912 | Inland transportation from KV warehouse to North Region--Perlis exact site location for wireless site | Site | Perlis | 1 |  |  | Optional | 1 | 1 | Optional | 1 |  |  | Optional | Optional | Optional | Optional | 1
350000214913 | Inland transportation from KV warehouse to North Region--Kedah exact site location for wireless site | Site | Kedah | 1 |  |  | Optional | 1 | 1 | Optional | 1 |  |  | Optional | Optional | Optional | Optional | 1
350000214914 | Inland transportation from KV warehouse to North Region--Penang exact site location for wireless site | Site | Penang | 1 |  |  | Optional | 1 | 1 | Optional | 1 |  |  | Optional | Optional | Optional | Optional | 1
350000214915 | Inland transportation from KV warehouse to North Region--Perak exact site location for wireless site | Site | Perak | 1 |  |  | Optional | 1 | 1 | Optional | 1 |  |  | Optional | Optional | Optional | Optional | 1
350000165392 | Wireless site as-built document | Site |  | 1 |  |  | 1 | 1 | 1 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1
350000165391 | Wireless site installation acceptance | Site |  | 1 |  |  | 1 | 1 | 1 | 1 | 1 |  |  | 1 | 1 | 1 | 1 | 1
350000589233 | Simple Packing and Inland transportation from North Region to KV warehouse--Perlis exact site location for wireless site | Site | Perlis | 1 | 1 |  | Optional | 1 | 1 | Optional | 1 |  | 1 | Optional | Optional | Optional | Optional
350000589234 | Simple Packing and Inland transportation from North Region to KV warehouse--Kedah exact site location for wireless site | Site | Kedah | 1 | 1 |  | Optional | 1 | 1 | Optional | 1 |  | 1 | Optional | Optional | Optional | Optional
350000589235 | Simple Packing and Inland transportation from North Region to KV warehouse--Penang exact site location for wireless site | Site | Penang | 1 | 1 |  | Optional | 1 | 1 | Optional | 1 |  | 1 | Optional | Optional | Optional | Optional
350000589236 | Simple Packing and Inland transportation from North Region to KV warehouse--Perak exact site location for wireless site | Site | Perak | 1 | 1 |  | Optional | 1 | 1 | Optional | 1 |  | 1 | Optional | Optional | Optional | Optional
350000354023 | Wireless site commissioning (on Mobile phone) | site |  | 1 |  |  | 1 | 1 | 1 |  | 1 |  |  | 1 | 1 | 1 | 1 | 1
350000428950 | Site HSW video surveillance service for Digi project | Site |  | 1 | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 |  | 1 | 1 | 1 | 1 | 1
350000589364 | Wireless site as-built document for pure equipment removal site | Site |  |  | 1
350000214920 | Inland transportation from KV warehouse to North Region--Perlis exact site location for MW | Hop | Perlis
350000214921 | Inland transportation from KV warehouse to North Region--Kedah exact site location for MW | Hop | Kedah
350000214922 | Inland transportation from KV warehouse to North Region--Penang exact site location for MW | Hop | Penang
350000214923 | Inland transportation from KV warehouse to North Region--Perak exact site location for MW | Hop | Perak
350000589241 | Simple Packing and Inland transportation from North Region to KV warehouse--Perlis exact site location for MW | Hop | Perlis |  |  | 1
350000589242 | Simple Packing and Inland transportation from North Region to KV warehouse--Kedah exact site location for MW | Hop | Kedah |  |  | 1
350000589243 | Simple Packing and Inland transportation from North Region to KV warehouse--Penang exact site location for MW | Hop | Penang |  |  | 1
350000589244 | Simple Packing and Inland transportation from North Region to KV warehouse--Perak exact site location for MW | Hop | Perak |  |  | 1
350000601066 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from KV warehouse to North Region--Perak exact site location | Site | Perak | Optional | Optional |  | 1 |  |  | 1 |  |  |  | 1 | 1 | 1 | 1
350000601068 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from KV warehouse to North Region--Kedah exact site location | Site | Kedah | Optional | Optional |  | 1 |  |  | 1 |  |  |  | 1 | 1 | 1 | 1
350000601067 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from KV warehouse to North Region--Penang exact site location | Site | Penang | Optional | Optional |  | 1 |  |  | 1 |  |  |  | 1 | 1 | 1 | 1
350000601069 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) from KV warehouse to North Region--Perlis exact site location | Site | Perlis | Optional | Optional |  | 1 |  |  | 1 |  |  |  | 1 | 1 | 1 | 1
350000589218 | Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) for MW only | Hop | [8 empty] | Optional
350000589329 | Simple Packing and Partial material transportation(for frame/sub-rack or extra transportion for incomplete material at the 1st time transportation ) for MW only | Hop |  | Optional | Optional |  | 1 |  |  | 1 |  | 1 |  | 1 | 1 | Optional | 1
350000589179 | Inland transportation from KV warehouse to North Region--Kedah exact site location for wireless and MW(Antenna Dia<=1.2m) together | Site | Kedah |  |  |  |  | 1 | 1 |  | Optional
350000589181 | Inland transportation from KV warehouse to North Region--Perak exact site location for wireless and MW(Antenna Dia<=1.2m) together | Site | Perak |  |  |  |  | 1 | 1 |  | Optional
350000589180 | Inland transportation from KV warehouse to North Region--Penang exact site location for wireless and MW(Antenna Dia<=1.2m) together | Site | Penang |  |  |  |  | 1 | 1 |  | Optional
350000589178 | Inland transportation from KV warehouse to North Region--Perlis exact site location for wireless and MW(Antenna Dia<=1.2m) together | Site | Perlis |  |  |  |  | 1 | 1 |  | Optional
350000062751 | MW Installation Acceptance | Hop
350000062754 | MW As-built Document | Hop
350000589455 | MW Commissioning ((1+0)/(1+1)/(1+1) SD/(2+2) XPIC/(2+2) XPIC SD/(2+0) XPIC/(4+0) XPIC) | Hop
350000589488 | Mobilization for per trip(For works except board/module expansion) | Trip | [7 empty] | Optional |  | 1
350000234599 | iMacro site transportation from warehouse to site | Site | [5 empty] | Optional | Optional |  |  |  | 1
350000234600 | iMacro site equipment installation and site acceptance | Site | [5 empty] | Optional | Optional |  |  |  | 1
350000234601 | iMacro site commssion and integration | Site | [5 empty] | Optional | Optional |  |  |  | 1

## EM Transportation Model
EPMS Region | Region | Current BOQ Area
Kuching | Sarawak | Kuching
Padawan | Sarawak | Kuching
Bau | Sarawak | Kuching
Sirikin | Sarawak | Kuching
Lundu | Sarawak | Kuching
Sematan | Sarawak | Kuching
Samarahan | Sarawak | Kuching
Asajaya | Sarawak | Kuching
Simunjan | Sarawak | Kuching
Sebuyau | Sarawak | Kuching
Serian | Sarawak | Kuching
Tebedu | Sarawak | Kuching
Siburan | Sarawak | Kuching
Sri Aman | Sarawak | Sri Aman
Lubok Antu | Sarawak | Sri Aman
Lingga | Sarawak | Sri Aman
Pantu | Sarawak | Sri Aman
Engkilili | Sarawak | Sri Aman
Saratok | Sarawak | Sri Aman
Nanga | Sarawak | Sri Aman
Dubu | Sarawak | Sri Aman
Pusa | Sarawak | Sri Aman
Maludam | Sarawak | Sri Aman
Kabong | Sarawak | Sri Aman
Roban | Sarawak | Sri Aman
Betong | Sarawak | Sri Aman
Spaoh | Sarawak | Sri Aman
Debak | Sarawak | Sri Aman
Sarikei | Sarawak | Sibu
Meradong | Sarawak | Sibu
Julau | Sarawak | Sibu
Pakan | Sarawak | Sibu
Mukah | Sarawak | Sibu
Balingan | Sarawak | Sibu
Dalat | Sarawak | Sibu
Matu | Sarawak | Sibu
Daro | Sarawak | Sibu
Tanjong Manis | Sarawak | Sibu
Sibu | Sarawak | Sibu
Kanowit | Sarawak | Sibu
Selangau | Sarawak | Sibu
Kapit | Sarawak | Sibu
Song | Sarawak | Sibu
Bintulu | Sarawak | Bintulu
Sebauh | Sarawak | Bintulu
Tatau | Sarawak | Bintulu
Belaga | Sarawak | Bintulu
Sungai Asap | Sarawak | Bintulu
Miri | Sarawak | Miri
Marudi | Sarawak | Miri
Mulu | Sarawak | Miri
Bario | Sarawak | Miri
Subis | Sarawak | Miri
Niah | Sarawak | Miri
Beluru | Sarawak | Miri
Lapok | Sarawak | Miri
Telang Usan | Sarawak | Miri
Long Lama | Sarawak | Miri
Long Bedian | Sarawak | Miri
Limbang | Sarawak | Limbang
Nanga Medamit | Sarawak | Limbang
Lawas | Sarawak | Lawas
Sundar | Sarawak | Lawas
Trusan | Sarawak | Lawas
Kota Kinabalu | Sabah | Kota Kinabalu
Penampang | Sabah | Kota Kinabalu
Putatan | Sabah | Kota Kinabalu
Tuaran | Sabah | Kota Kinabalu
Tamparuli | Sabah | Kota Kinabalu
Ranau | Sabah | Kota Kinabalu
Papar | Sabah | Kota Kinabalu
Lokkawi | Sabah | Kota Kinabalu
Kinarut | Sabah | Kota Kinabalu
Sandakan | Sabah | Sandakan
Kinabatangan | Sabah | Sandakan
Labuk & Sugut | Sabah | Sandakan
Tongod | Sabah | Sandakan
Telupid | Sabah | Sandakan
Beluran | Sabah | Sandakan
Tawau | Sabah | Tawau
Semporna | Sabah | Tawau
Kunak | Sabah | Tawau
Kalabakan | Sabah | Tawau
Kudat | Sabah | Sandakan
Kota Belud | Sabah | Kota Kinabalu
Kota Marudu | Sabah | Sandakan
Pitas | Sabah | Sandakan
Lahad Datu | Sabah | Tawau
Felda Sahabat | Sabah | Tawau
Tungku | Sabah | Tawau
Keningau | Sabah | Sandakan
Tambunan | Sabah | Kota Kinabalu
Tenom | Sabah | Sandakan
Persiangan | Sabah | Sandakan
Beaufort | Sabah | Kota Kinabalu
Kuala Penyu | Sabah | Sandakan
Sipitang | Sabah | Sandakan
Nabawan | Sabah | Sandakan
Pulau Labuan | Sabah | Tawau
Maradong | Sarawak | Sibu
Pensiangan | Sabah | Sandakan